## SOQ
APPENDIX 1
FORM OF TENDER
Contract 89036
Foster Ave & Chineside Area Watermain Replacements
SCHEDULE OF QUANTITIES AND PRICES
(see paragraph 5.3.1 of the Instruction to Tenderers)
(All Tender and Contract Prices shall NOT include GST. GST will apply upon payment)
(Should there be any discrepancy in the information provided, the City’s original file copy shall prevail)
ITEM NO. | MMCD Ref. / (Supplementary Specifications) | DESCRIPTION | UNIT | QUANTITY | UNIT PRICE | EXTENDED AMOUNT
CHINESIDE PHASE 2
1 | 01 58 01S | PROJECT IDENTIFICATION
1.01 | ( 1.3.1 ) | Construction Zone Information Signs | ea. | 3 |  | 0
2 | 03 30 20S | CONCRETE WALKS, CURBS AND GUTTERS
2.01 | ( 1.4.3 ) | Remove and Replace Concrete Curb - (COQ-C6) | l.m | 105 |  | 0
2.02 | ( 1.4.5 ) | Remove and Replace Concrete Sidewalk (100mm) | sq.m | 5 |  | 0
2.03 | ( 1.4.5 ) | Remove and Replace Concrete Monolithic Sidewalk - (COQ-C8) | sq.m | 62 |  | 0
2.04 | ( 1.4.5 ) | Remove and Replace Concrete Monolithic Driveway Crossing - (COQ-C8) | sq.m | 12 |  | 0
2.05 | (1.4.5) | Remove and Replace Concrete Driveway (100mm thick) - Brushed Finish | sq.m | 44 |  | 0
2.06 | (1.4.5) | Remove and Replace Concrete Driveway (100mm thick) - Stamped | sq.m | 10 |  | 0
2.07 | (1.4.5) | Remove and Replace Concrete Driveway (100mm thick) - Exposed Aggregate | sq.m | 15 |  | 0
2.08 | (1.4.5) | Remove and Replace Concrete Driveway (100mm thick) - Coloured | sq.m | 12 |  | 0
3 | 31 23 01S | EXCAVATING, TRENCHING AND BACKFILLING
3.01 | 1.10.3 | Overexcavation (Provisional) | cu.m | 35 |  | 0
3.02 | (1.10.9) | Imported Trench Backfill (75mm Minus) (Provisional) | tonne | 1310 |  | 0
3.03 | (1.10.10) | Additional Prelocate Works Adjacent to Existing Retaining Walls | Allowance |  |  | 10000
3.04 | (1.10.11) | Remove and Replace Retaining Walls (All Types) | Allowance |  |  | 20000
3.05 | (1.10.12) | Abandon Existing PRV Station | Allowance |  |  | 15000
4 | 32 01 16.7 | COLD MILLING
4.01 | (1.5.1) | Surface Mill - 35mm | sq.m | 2740 |  | 0
5 | 32 12 13.1 | ASPHALT TACK COAT
5.01 | 1.5.1 | Asphalt Tack Coat - Emulsified Asphalt | sq.m | 2740 |  | 0
6 | 32 12 16 | HOT-MIX ASPHALT CONCRETE PAVING
6.01 | (1.5.1) | Hot Mix Asphalt - 35mm Surface Layer - MMCD Upper Course #2 | sq.m | 2740 |  | 0
7 | 33 11 01S | WATERWORKS
7.01 | (1.8.2) | 150mm Class 50 DI Watermain (V-Bio Encased) | l.m | 885 |  | 0
7.02 | (1.8.2) | 200mm Class 50 DI Watermain (V-Bio Encased) | l.m | 166 |  | 0
7.03 | (1.8.3.1) | 150mm Gate Valves | ea. | 7 |  | 0
7.04 | (1.8.3.1) | 200mm Gate Valves | ea. | 2 |  | 0
7.05 | (1.8.3.1) | Tee - 150mm x 150mm x 150mm DI | ea. | 5 |  | 0
7.06 | (1.8.3.1) | Tee - 200mm x 200mm x 150mm DI | ea. | 2 |  | 0
7.07 | (1.8.3.1) | Tee - 200mm x 150mm x 150mm DI | ea. | 1 |  | 0
7.08 | (1.8.3.1) | Bend - 150mm 45° DI | ea. | 2 |  | 0
7.09 | (1.8.3.1) | Bend - 150mm 22.5° DI | ea. | 5 |  | 0
7.1 | (1.8.3.1) | Bend - 150mm 11.25° DI | ea. | 9 |  | 0
7.11 | (1.8.3.1) | Bend - 200mm 45° DI | ea. | 2 |  | 0
7.12 | (1.8.3.1) | Bend - 200mm 22.5° DI | ea. | 1 |  | 0
7.13 | (1.8.3.2) | Remove Existing Valve Boxes & Risers Outside of Other Excavations | ea. | 11 |  | 0
7.14 | (1.8.3.3) | Removal of Existing Hydrants | ea. | 4 |  | 0
7.15 | (1.8.4.1) | 19mm Water Service Connection (COQ-W2l) w/ Municipex and #10 AWG Tracer Wire | m | 517 |  | 0
7.16 | (1.8.4.1) | Supply & Install Terminal City Nelson type valve box c/w lid marked "Water"; including 150mm PVC riser, precast concrete box and meter setter as per Standard Drawing COQ-W2m | ea. | 61 |  | 0
7.17 | (1.8.4.2) | Transfer 19mm Existing Copper Water Service to new main (Coq-W2b-1) | ea. | 19 |  | 0
7.18 | (1.8.5) | Air Valve Assembly, Chamber and Vent (COQ-W6) | ea. | 3 |  | 0
7.19 | (1.8.15) | New Fire Hydrant Assembly | ea. | 5 |  | 0
7.2 | (1.8.16) | Watermain tie-in including capping (150mm) | ea. | 4 |  | 0
7.21 | (1.8.16) | Watermain tie-in including capping (200mm) | ea. | 1 |  | 0
7.22 | (1.8.16) | Watermain tie-in - Wet tap c/w Tapping Tee and Gate Valve (250mm) | ea. | 1 |  | 0
7.23 | (1.8.17) | Permanent Cap outside of trench (150mm) | ea. | 1 |  | 0
FOSTER AVE
8 | 03 30 20S | CONCRETE WALKS, CURBS AND GUTTERS
8.01 | ( 1.4.5 ) | Remove and Replace Concrete Curb (MMCD C5) | l.m. | 4 |  | 0
8.02 | ( 1.4.5 ) | Remove and Replace Concrete Sidewalk or Driveway - Brushed Finish (100mm) | sq.m | 10 |  | 0
8.03 | ( 1.4.5 ) | Remove and Replace Concrete Monolithic Sidewalk - 100mm (COQ-C8) | sq.m | 52.3 |  | 0
8.04 | ( 1.4.5 ) | Remove and Replace Concrete Monolithic Driveway Crossing - 190mm | sq.m | 28 |  | 0
9 | 31 23 01S | EXCAVATING, TRENCHING AND BACKFILLING
9.01 | 1.10.3 | Over Excavation (Provisional) | cu.m | 15 |  | 0
9.02 | (1.10.9) | Imported Trench Backfill (75mm Minus) (Provisional) | tonne | 530 |  | 0
10 | 32 01 16.7 | COLD MILLING
10.01 | (1.5.1) | Surface Mill - 35mm | sq.m | 475 |  | 0
11 | 32 12 13.1 | ASPHALT TACK COAT
11.01 | 1.5.1 | Asphalt Tack Coat - Emulsified Asphalt | sq.m | 475 |  | 0
12 | 32 12 16 | HOT-MIX ASPHALT CONCRETE PAVING
12.01 | (1.5.1) | Hot Mix Asphalt - 35mm Surface Layer - MMCD Upper Course #2 | sq.m | 475 |  | 0
13 | 33 11 01S | WATERWORKS
13.01 | (1.8.2) | Watermain - 150mm dia. DI (V-Bio Encased) | l.m. | 50 |  | 0
13.02 | (1.8.2) | Watermain - 200mm dia. DI (V-Bio Encased) | l.m. | 15 |  | 0
13.03 | (1.8.2) | Watermain - 300mm dia. DI (V-Bio Encased) | l.m. | 220 |  | 0
13.04 | (1.8.3.1) | Reducer - 150 x 200mm DI | ea. | 1 |  | 0
13.05 | (1.8.3.1) | Reducer - 150 x 300mm DI | ea. | 2 |  | 0
13.06 | (1.8.3.1) | Reducer - 200 x 300mm DI | ea. | 2 |  | 0
13.07 | (1.8.3.1) | Gate Valve - 150mm | ea. | 2 |  | 0
13.08 | (1.8.3.1) | Gate Valve - 200mm | ea. | 1 |  | 0
13.09 | (1.8.3.1) | Gate Valve - 300mm | ea. | 3 |  | 0
13.1 | (1.8.3.1) | Tee - 300 x 300 x 150mm DI | ea. | 2 |  | 0
13.11 | (1.8.3.1) | Tee - 300 x 300 x 300mm DI | ea. | 1 |  | 0
13.12 | (1.8.3.1) | Cross - 300 x 300 x 300 x 300mm DI | ea. | 1 |  | 0
13.13 | (1.8.3.1) | 11.25 deg. Vertical Bend - 200mm DI | ea. | 1 |  | 0
13.14 | (1.8.3.1) | 11.25 deg. Vertical Bend - 300mm DI | ea. | 2 |  | 0
13.15 | (1.8.3.1) | 45 deg. Bend - 150mm DI | ea. | 6 |  | 0
13.16 | (1.8.3.1) | 45 deg. Bend - 300mm DI | ea. | 2 |  | 0
13.17 | (1.8.3.2) | Remove Existing Valve Boxes & Risers Outside of Other Excavations | ea. | 6 |  | 0
13.18 | (1.8.3.3) | Removal of existing hydrants | ea. | 1 |  | 0
13.19 | (1.8.4.1) | 19mm Water Service Connection (COQ-W2l) w/ Municipex and #10 AWG Tracer Wire | m | 75 |  | 0
13.2 | (1.8.4.1) | Supply & Install Terminal City Nelson type valve box c/w lid marked "Water"; including 150mm PVC riser, meter setter and precast concrete box as per Standard Drawing COQ-W2m | ea. | 12 |  | 0
13.21 | (1.8.14) | Blow Off Assembly per COQ-W6 - complete | ea. | 1 |  | 0
13.22 | (1.8.15) | Hydrant Assembly per MMCD W4 including 150mm DI Gate Valve - complete | ea. | 2 |  | 0
13.23 | (1.8.16) | Watermain tie-in including capping (150mm) | ea. | 3 |  | 0
13.24 | (1.8.16) | Watermain tie-in - Wet tap c/w Tapping Tee and Gate Valve (200mm) | ea. | 1 |  | 0
13.25 | (1.8.17) | Permanent Cap outside of trench - 150mm dia. | ea. | 2 |  | 0
| Name of Contractor:_______________________________________ |  |  |  | Total Tendered Price (exclude GST):
(Transfer the amount to Form of Tender Summary Page 1)