## Appendix 1 (Rev.2)
REVISED - APPENDIX 1 - Revision No. 2
FORM OF TENDER
Contract 81832 - PHASE 1
CEDAR DRIVE UPGRADES - PHASE 1 : PARTINGTON CREEK CONVEYANCE IMPROVEMENTS
SCHEDULE OF QUANTITIES AND PRICES
(see paragraph 5.3.1 of the Instruction to Tenderers)
(All Tender and Contract Prices shall NOT include GST. GST will apply upon payment)
(Should there be any discrepancy in the information provided, the City’s original file copy shall prevail)
ITEM NO. | MMCD/ Supp. Specs | DESCRIPTION | UNIT OF MEASURE | TOTAL QUANTITY | UNIT PRICE | TOTAL COST
1 | 01 55 00S | TRAFFIC CONTROL, VEHICLE ACCESS AND PARKING
1.01 | (1.5.1) | Traffic Control and Management |  | Incidental to Contract
2 | 01 57 01S | ENVIRONMENTAL PROTECTION
2.01 | (1.6.1) | ESC supply & installation, maintenance and removal | ALLOWANCE | 1 |  | 50000
3 | 01 58 01S | PROJECT IDENTIFICATION
3.01 | (1.3.1) | Construction Zone Information Signs | Each | 4
4 | 31 11 01S | CLEARING AND GRUBBING
4.01 | (1.4.1) | Clearing and Grubbing | Lump Sum | 1
5 | 31 24 13S | ROADWAY EXCAVATION, EMBANKMENT AND COMPACTION
5.01 | (1.8.5) | Common Excavation - Off Site Disposal, includes stripping and top soil removal, placing polythene sheet for erosion control complete | Cubic Meter | 2280
5.02 | (1.8.5) | Common Excavation - Onsite Reuse (Native Material Regrade at Channel) | Cubic Meter | 1990
5.03 | (1.8.5) | Japanese Knotweed Removal and Off Site Disposal and Stockpiling at 1341 Gilleys Trail.(OPTIONAL) | Square Meter | 150
5.04 | (1.8.4) | Removal of Existing Concrete Lock Blocks | Each | 230
5.05 | (1.8.14) | Sandbag Barrier | Linear Meter | 140
6 | 32 11 23 | GRANULAR BASE
6.1 | (1.4.3) | 19mm Minus Gravel (Road Shoulder) | Tonne | 80
7 | 33 11 01S | WATERWORKS
7.01 | (1.8.11) | Hydrant Assembly Relocation | Each | 2
7.02 | (1.8.14) | Irrigation water service connection and meter (50 mm Diameter) | ea. | 1
8 | 31 23 23 | CONTROLLED DENSITY FILL
8.1 | 1.4 | Infill of Existing 1200mm Dia. HDPE Culvert with Controlled Density Fill (CEMATRIX or Approved Equal) | Cubic Meter | 140
9 | 31 37 10 | RIPRAP
9.1 | 1.4.1 | 150mm Dia. Riprap | Tonne | 80
10 | 33 42 13S | PIPE CULVERTS
10.01 | (1.5.2) | 1200mm Dia. HDPE Culvert Extension | lin.m | 14
10.02 | (1.5.2) | 1200mm Dia. 90deg HDPE Bend | Each | 2
10.03 | (1.5.4) | Removal of Existing 300mm Dia. PVC Culvert | lin.m | 14
10.04 | (1.5.7) | Removal of Existing 500mm Dia. CSP Culvert and off site disposal | lin.m | 16
10.05 | (1.5.7) | Removal of Existing 600mm Dia. CMP Culvert and off site disposal | lin.m | 11
10.06 | (1.5.7) | Removal of Existing 850mm Dia. PVC Culvert and off site disposal | lin.m | 10
11 | 32 91 21S | TOP SOIL AND FINSIH GRADING
11.01 | (1.4.1) | Growing Medium as specified on Contract Drawings | Cubic Meter | 2630
12 | 32 92 19S | HYDRAULIC SEEDING
12.01 | (1.8.1) | Hydraulic Seeding (Optional) | Square Meter | 2500
12.02 | 1.8.3 | Erosion Control Blanket (Terrafix C200 or approved equivalent) | Square Meter | 4700
13 | 04 43 00S | CHANNEL SUBSTRATE
13.1 | (1.3.1) | Channel Substrate Gravel Mix | Cubic Meter | 1150
13.2 | (1.3.2) | 600mm Dia. Boulder | Each | 300
14 | 32 93 01S | PLANTING OF TREES, SHRUBS, AND GROUND COVERS
14.01 | (1.9.1) | Tree - Amelanchier canadenis - Canada Serviceberry | Each | 7
14.02 | (1.9.1) | Tree - Betula allenghaniensis - Yellow Birch | Each | 3
14.03 | (1.9.1) | Tree - Cercis canadiensis - Eastern Redbud | Each | 3
14.04 | (1.9.1) | Tree - Crataegus douglasii suksdorfii - Black Hawthorn | Each | 1
14.05 | (1.9.1) | Tree - Gleditsia triacanthus - Honey Locust | Each | 3
14.06 | (1.9.1) | Tree - Picea glauca - White Spruce | Each | 8
14.07 | (1.9.1) | Tree - Pinus contorta - Shore Pine | Each | 8
14.08 | (1.9.1) | Tree - Pinus ponderosa - Ponderosa Pine | Each | 38
14.09 | (1.9.1) | Tree - Prunus emarinata - Bitter Cherry | Each | 6
14.1 | (1.9.1) | Tree - Pseudotsuga menziesii - Douglas Fir | Each | 50
14.11 | (1.9.1) | Tree - Quercus garryana - Garry Oak | Each | 19
14.12 | (1.9.1) | Tree - Rhamnus purshiana - Cascara | Each | 14
14.13 | (1.9.1) | Shrubs | Each | 3661
14.14 | (1.9.1) | Ground Cover | Each | 4074
14.15 | (1.9.3) | Large Woody Debris Type 1 | Each | 31
14.16 | (1.9.3) | Large Woody Debris Type 2 | Each | 9
14.17 | (1.9.3) | Tree Snag | Each | 9
15 | 32 84 23S | IRRIGATION
15.01 | (1.11) | Providing and Installing irrigation system complete with double check valve assembly (Watt 007QT), irrigation controller, Rainbird PEB valves, all labor, equipment and materials needed to complete the work as shown on Contract Drawings including maintenance for one year as described in specifications. | l.s. | 1
|  |  |  | Total Tendered Price (exclude GST): | $
(Transfer the amount to Form of Tender Summary Page 1)
Name of Contractor: