## Sheet1
Legend at the bottom of the spreadsheet
# | Building Sites | Address | ABC | K | CO2 | Fire Alarm Panel | ANN Panel | M | S | B | HT | RHT | DR | STH | TS | FS | V | K H S | ELU | Sprinkler Type | Wet | Dry | BF | Fire Supp. Systems | Elevator
Recreation Leisure Facilities
1 | PSLC POOL | 633 Poirier Street | 13 |  |  | Edwards E.S.T. |  | 12 | 9 | 8 |  | 1 | 63 | 26 | 3 | 1 |  |  | 12 | 2 1/2" Auto | YES | Yes | 4 |  | Yes
2 | PSLC ARENA | 633 Poirier Street | 52 | 1 | 6 | (All devices in arena are hooked up to the PSLC Pool fire alarm system and are noted there) | [12 empty] | 81 | Potter (4) 1.25", 2 x 2.5", 4" | YES | Yes |  |  | Yes
3 | Poirier Forum | 618 Poirier St | 18 |  | 1 | Notifier NFS-320C |  | M: 4; B: 9; V: 10 |  | 4
4 | City Centre Aquatic Complex | 1210 Pinetree Way | 17 |  | 8 | Edwards 6616 |  | 14 | 9 | 16 | 17 | 1 |  | 41 | 4 | 2 |  |  | 25 |  | YES |  | 4
5 | Eagle Ridge Pool | 2689 Guildford Way | 2
Mundy Park Pool ( Under Construction)
Community Facilities
6 | Dogwood Pavilion | 624 Poirier Street | 16 | 2 | 0 | Mircom 300 |  | M: 12; S: 1; B: 12; RHT: 1; V: 7 | YES | 34 | Viking/ F-1 / 4" | YES |  | 2
7 | Dogwood Pavilion (Lawnbowling Bldg) | 624 Poirier Street | 4 |  |  | N/A | [12 empty] | 2
8 | Blue Mountain Park Scout Hall | 1038 Winslow Ave. | 2 |  |  | Mirtone 7124 |  | M: 2; S: 4; B: 1; RHT: 15 |  | 1
9 | Poirier Community Centre | 630 Poirier Street | 9 |  |  | Edwards 12 Volt |  | M: 3; B: 3; RHT: 8 |  | 6
10 | Centennial Pavilion | 620 Poirier Street | 5 |  |  | Microm FA 300 |  | M: 7; S: 15; B: 3 |  | 14 | Viking/ F-1 / 3" | YES |  | 2
11 | Poirier Administration | 640/644 Poirier Street | 13 |  |  | 12V Gell Ball |  | M: 4; B: 4 |  | 21 |  |  |  | 2
12 | Victoria Hall | 3435 Victoria Drive | 6 |  |  | Micron FX-2000 |  | M: 4; B: 3; RHT: 15 |  | 8
13 | Town Centre Park Community Centre (Formerly Innovation Centre) | 1207 Pinetree Way | 4 |  |  | Notifier AFP-200 |  | 4 | 10 |  | 3 | 10 | 11 |  |  |  | 3 |  | 17 | Viking | Yes |  | 2
14 | Glen Pine Pavilion | 1200 Glen Pine Court | 9 |  |  | GE-EST3 |  | 14 | 15 | 5 | 2 | 19 |  |  |  |  | 7 | YES | 9 |  | Yes |  | 2 |  | Yes
15 | Burke Mountain Discovery Center | 3537 Princeton Ave
16 | Maillardville Community Centre | 1220 Cartier | 18 |  |  |  |  | M: 8; S: 11; V: 4 |  | 10 |  | Yes |  |  |  | Yes
Civic Facilities
17 | City Hall | 3000 Guildford Way | 51 |  | 10 | Cerberus MXL | 1 | 27 | 33 | 5 |  | 4 |  |  | 68 | 15 | 11 |  | 3 | Viking | YES | YES | 3 | INERGEN | Yes
18 | Public Safety Building (RCMP) | 2986 Guildford Way | 30 |  | 4 | Cerberus MXL | 3 | 17 | 55 | 2 | 40 | 3 |  |  |  | 10 | 6 |  | 4 | Potter | YES | YES | 3 | FM 200 | Yes
19 | Robinson Memorial Park Admin Building | 621 Robinson Street | 6 |  |  | N/A |  | S: 6 |  | 2
20 | Service Centre (Water/Sewer Utility Bldg) | 2647 Austin Ave. | 25 |  |  | Edwards 6616 |  | 19 | 2 | 12 | 2 | 2 |  |  |  |  | 3 |  | 17 | Potter /VSR-F / 4" | YES | YES | 4 |  | Yes
21 | Service Centre (Vehicle Service Bldg) | 2647 Austin Ave. | 21 |  |  | Notifier 500 1AW |  | 16 | 2 | 5 | 2 | 2 |  |  |  |  | 3 |  |  | Potter /VSR-F / 4" | YES |  | 2
22 | Service Centre (Auxiliary Building) | 2647 Austin Ave. | 11 |  |  | N/A
23 | Service Centre (Parks Admin Building) | 2647 Austin Ave. | 4
24 | Austin Operations Building | 500 Mariner Way
25 | Animal Shelter | 500 Mariner Way | 6 |  |  | Mircom Series 200 |  | M: 10; S: 10; B: 6; RHT: 11 |  | 4
26 | Animal Shelter Trailer | 500 Mariner Way | 1
27 | Animal Shelter Trailer 2 (Bunny Trailer) | 500 Mariner Way | 1
28 | Works Yard Cratex | 500 Mariner Way | 4
Society Facilities
29 | Coquitlam City Centre Library | 1169 Pinetree Way | 14 |  | 1 |  |  | M: 7; S: 63; RHT: 2 |  | 16 |  | YES
30 | Evergreen Cultural Centre | 1205 Pintree Way | 18 |  |  | Notifier AFP-200 | 2 | M: 33; S: 46; B: 18; HT: 0; RHT: 4 |  | 19 | Potter / 13 / 3" // Porter / 13 / 4" | YES | Vicking / E-1 / 3" | 4 |  | Yes
31 | Coquitlam Public Library (Poirier) | 575 Poirier Street | 15 |  | 1 | Mircom FX-2000 |  | M: 8; S: 87; B: 10; STH: 9; V: 11 |  | 21 | Potter /VSR-F / 4" | YES |  | 1
32 | Mackin House Museum | 1116 Brunette Ave | 6 |  |  | Simplex 4001 |  | M: 5; S: 3; B: 2 |  | 3 | Viking | YES |  | 2
33 | Place Des Arts | 1120 Brunette Ave | 20 |  |  | Edwards ESA 2000 |  | M: 16; S: 9; B: 10 |  | 6 | Viking | YES |  | 2 |  | Yes
34 | Place Des Arts (Renaissance Building) | 1120 Brunette Ave | 1 |  |  | N/A | [12 empty] | 2 | bar: M; B
35 | Hoy Creek Hatchery Building | 2963 Princess Cres.
36 | Foster Tennis Facility | 1650 Foster Ave | 5 | [15 empty] | 8
37 | Train Station Museum | 1116 Brunette Ave
Fire / Rescue Facilities
38 | Austin Heights Fire Station | 428 Nelson Ave | 10 |  |  | Mircom FA1000 |  | M: 12; S: 8; B: 10; RHT: 21 | YES | 1 |  |  |  | 1
39 | Mariner Fire Station | 775 Mariner Way | 13 | 1 |  | Simplex 4002 |  | M: 11; S: 11; B: 9; HT: 9; RHT: 21 | YES | 1 | Viking/ F-1 / 3" | YES |  | 3
40 | Burke Mountain Fire Station | 3501 David Ave | 9 |  |  | Mircom FX-2000 |  | 18 | 10 | 17 |  |  |  |  | 4 | 10 | 3 |  | 1
41 | Town Centre Fire Station | 1300 Pinetree Way | 18 | 2 |  | Edwards 6616 |  | M: 17; S: 8; HT: 11; RHT: 8 | YES | 2 | Viking | YES |  | 2 |  | Yes
42 | Town Centre Fire Training Tower | 1300 Pinetree Way | 4
43 | Town Centre Fire Administration Building | 1300 Pinetree Way | 10 |  |  | Edwards 6616 |  | M: 6; S: 4; HT: 7 |  |  | Viking | YES
44 | Town Centre Fire Training Portable | 1300 Pinetree Way | 2
Field Houses / Washrooms / Other
45 | Town Centre Works Yard Trailer | 1250 Pipeline Rd | 2 | [15 empty] | 2
46 | Town Centre Park Workshop | 1251 Pipeline Rd | 7
47 | Town Centre Park Stadium Fieldhouse | 1299 Pinetree Way | 4 | bar: S
48 | Town Centre Park Stadium Concession | 1299 Pinetree Way | 2 | bar: S
49 | Mackin Park Concession | 1046 Brunette Ave | 1
50 | Lafarge Lake Washroom | 1205 Pinetree Way | [16 empty] | 3
51 | Mundy Park Fieldhouse | 629 Hillcrest | 8 | [15 empty] | 4
52 | Miller Park Washroom (Joint Venture - SD43) | 800 Egmont Ave | [16 empty] | 1
53 | Blue Mountain Wading Pool Storage | 975 King Albert Ave | 2
54 | Blue Mountain Park Baseball Concession | 975 King Albert Ave | 2
55 | Blue Mountain Park Washroom | 1001 King Albert Ave | 2 | [15 empty] | 1
56 | Booth Farm | 1746 Brunette Ave | 2
57 | Bramble Park Washroom | 2875 Panorama Dr (school) | [16 empty] | 2
58 | Burquitlam Garden Park Washroom | 515 Ebert Ave | 1
59 | Charles Best Fieldhouse | 2525 Como Lake Ave | 2 | [15 empty] | 5
Pump Stations
60 | Greenacres Pump Station | 2945 Como Lake Ave | 2 |  |  | Mircom FA101T | [12 empty] | 4 | bar: S
61 | Harper Pump Station | 3419 Harper | 1 |  | 2 | [13 empty] | 4
62 | City Centre Pump Station | 1150 Lougheed Hwy | 2 |  |  |  |  | S: 4 |  | 1
63 | Foster Pump Station | 1650 Foster Ave | 3 | [15 empty] | 2
64 | Pipeline Pump Station | 3353 Robson Dr | 2 |  |  |  |  | M: 2; S: 1; RHT: 3 |  | 2
65 | Noons Creek Pump Station | 1550 Eagle Mountain Dr | 2 |  |  |  |  | M: 1; S: 3; RHT: 3 |  | 1
66 | Victoria Drive Pump Station | 3487 Victoria Dr | 3 |  |  | Notifier CFP-2410 B | [12 empty] | 2 | bar: S; RHT
67 | Oxford Heights Pump Station | 1270 Oxford St | 1 | [15 empty] | 1
68 | Eagle Mountain Pump Station | 1907 Parkway Blvd | 2 | [15 empty] | 2
69 | Hoy Creek Pump Station | 1530 Whitebark Pl | 2 |  |  |  |  | S: 2; B: 1 |  | 1
70 | Lansdowne Pump Station | Lansdowne @ Runnel | 2 |  |  |  |  | M: 2; S: 2 |  | 2
71 | Maquabeak Pump Station | 1000 Burbridge | 2
72 | Scott Creek Pump Station | 2699 Panorama Dr | 2 | [15 empty] | 1
73 | David Avenue Pump Station | David Ave - End of Shaughnessey | 2 | [15 empty] | 1
74 | River Heights Pump Station | 320 Hickey St | 2 |  | 1 | [13 empty] | 3
75 | Coquitlam Plateau Pump Station | 1260 Lansdowne Dr | 3 |  |  |  |  | M: 3 |  | 11
76 | Poirier Electrical Service Station | 618 Poirier St | 1
[5 empty] | STH | Strobe and Horn Combination |  | S: ABC; B: Fire Extinguisher Type
[5 empty] | TS | Tamper Switch |  | S: K; B: Fire Extinguisher Type
[5 empty] | FS | Flow Switch |  | S: CO2; B: Fire Extinguisher Type
[5 empty] | V | Visual Signal Device |  | S: M; B: Manual Pull Station
[5 empty] | ELU | Emergency Light Unit |  | S: S; B: Smoke Detector
[5 empty] | W | Wet Sprinkler System |  | S: B; B: Bell
[5 empty] | D | Dry Sprinkler System |  | S: HT; B: Heat Detector - Non Restorable
[5 empty] | BF | Back Flow Device |  | S: RHT; B: Heat Detector - Restorable
[5 empty] | KHS | Kitchen Hood System |  | S: DR; B: Double Remote Head