## SOQ
Revised APPENDIX 1 - Revision No. 1
FORM OF TENDER
Contract 77801
3371 Mason Ave Frontage Improvements
SCHEDULE OF QUANTITIES AND PRICES
(see paragraph 5.3.1 of the Instruction to Tenderers)
(All Tender and Contract Prices shall NOT include GST. GST will apply upon payment)
(Should there be any discrepancy in the information provided, the City’s original file copy shall prevail)
ITEM NO. | MMCD Ref. / (Supplementary Contract Specifications) | DESCRIPTION | UNIT | QTY | UNIT PRICE | EXTENDED AMOUNT
1 | 01 55 00 | TRAFFIC CONTROL, VEHICLE ACCESS AND PARKING
1.01 | 1.5.1 | Traffic Control and Management |  |  | Incidental to Contract
2 | 01 57 01S | ENVIRONMENTAL PROTECTION
2.01 | (1.6.1) | ESC supply & installation, maintenance and removal |  |  | Incidental to Contract
3 | 01 58 01S | PROJECT IDENTIFICATION
3.01 | (1.3.1) | Construction Zone Information Signs | ea. | 3
4 | 03 30 20S | CONCRETE WALKS, CURBS AND GUTTERS
4.01 | (1.4.3) | Concrete Curb & Gutter - Wide Base – MMCD C5 | l.m | 225
4.02 | (1.4.5) | Concrete Sidewalk & Walkway connectors & Wheelchair Letdown - 100mm thick – Broom Finished c/w 100mm Granular base; and as shown and described in the Contract Documents | sq.m | 340
4.03 | (1.4.5) | Concrete Driveway Letdown, Sidewalk Crossing, and Driveways - COQ-C7 & COQ-C7B - 190mm thick c/w 100mm granular base; and as shown and described in the Contract Documents | sq.m | 30
4.04 | (1.4.10) | Tactile Strip - 24x60in - Access Tile, Yellow color - removable type | ea. | 4
5 | 26 56 01S | ROADWAY LIGHTING
5.01 | 1.9.2 | Supply & installation of Roadway Lighting (ALL) Works including any removal, adjustments and disposal needed to complete the work and as shown on the Contract Drawing | l.s. | 1
6 | 31 11 01S | CLEARING AND GRUBBING
6.01 | (1.4.1) | Clearing & grubbing | l.s. | 1
6.02 | 1.4.2 | Tree removal | l.s. | 1
7 | 31 24 13S | ROADWAY EXCAVATION, EMBANKMENT AND COMPACTION
7.01 | (1.8.4) | Removal and disposal of Existing Asphalt (all Depths), including asphalt curb, concrete, paver or sidewalks | sq.m | 30
7.02 | (1.8.5) | Common Excavation including Off Site Disposal(includes retaining wall) (Provisional) | cu.m | 540
8 | 32 01 16.7S | COLD MILLING
8.01 | 1.5.1 | Full depth milling | sq.m | 570
9 | 32 11 16.1S | GRANULAR SUBBASE
9.01 | (1.4.3) | 75mm Minus Granular Sub Base, variable thickness (Provisional) | tonne | 345
10 | 32 11 23S | GRANULAR BASE
10.01 | (1.4.3) | 25mm Minus Granular Base, variable thickness (Provisional) | tonne | 295
11 | 32 12 16S | HOT-MIX ASPHALT CONCRETE PAVING
11.01 | (1.5.1) | Asphaltic Concrete Paving - Machine Laid Upper Course #1 (75mm, 1 lift) | tonne | 210
11.02 | (1.5.3) | Asphaltic Concrete Paving (driveway) - MMCD UC#1 (75mm, 1 lift) (c/w 100mm granular base) | tonne | 5
12 | 32 17 23S | PAINTED PAVEMENT MARKINGS
12.01 | (1.5.3) | Supply & Installation Thermoplastic Pavement Markings | l.s. | 1
12.02 | (1.5.4) | Remove and Reinstate existing signage | ea. | 3
13 | 32 31 13 | CHAIN LINK FENCES AND GATES
13.01 | 1.5 | Removable Steel Bollards - Model R-901 c/w base receiver. Refer to Appendix B. | ea. | 2
14 | 32 91 21S | TOP SOIL AND FINISH GRADING
14.01 | (1.4.1) | Imported Topsoil - 150mm Thick for Sod | cu.m | 38
14.02 | (1.4.1) | Growing Medium - Boulevard Tree Planting Trench - includes excavation, backfill, growing medium and as shown in Contract Drawings and described in Contract Documents(not paid where Boulevard Retention Trench is installed) | cu.m | 255
14.03 | (1.4.1) | 50mm Bark mulch (Provisional) | cu.m | 2
15 | 32 92 23S | SODDING
15.01 | (1.8.1) | Sodding | sq.m | 495
16 | 32 93 01S | PLANTING OF TREES, SHRUBS, AND GROUND COVERS
16.01 | (1.9.1) | Carpinus Betulus Globosum (Globe European Hornbeam) 7cm Cal/B&B 2.0m STD. | ea. | 6
16.02 | (1.9.1) | Magnolia Kobus (Kobus Magnolia) 7cm Cal/B&B 2.0m STD. | ea. | 3
16.03 | (1.9.1) | Fagus Sylvatica 'Dawyck' (Dawyck Beech) 7cm Cal/B&B 2.0m STD. | ea. | 4
16.04 | (1.9.3) | 400mm Deep Root barrier, 3m each side of tree (Provisional) | l.m | 150
17 | 33 11 01S | WATERWORKS
17.01 | (1.8.4) | 50mm Service Connections - COQ-W2e as shown in Contract Drawings and as per Appendix B | ea. | 1
18 | 33 40 01S | STORM SEWERS
18.01 | (1.6.3) | Storm Service Connection c/w Inspection Chamber | ea. | 1
18.02 | (1.6.5) | Catch Basin/Lawn Basin connection - 150mm SDR28 PVC (including sanded stubs) | l.m | 14
18.03 | (1.6.6) | Boulevard Retention Trench - COQ-SW3/SW4 (includes excavation, backfill materials, growing medium) | l.m | 90
18.04 | (1.6.6) | Boulevard Retention Trench - Decant Piping (includes perf pipe, caps, cleanout, trench dam and tie in to C/B) | ea. | 1
19 | 33 44 01S | MANHOLES AND CATCHBASINS
19.01 | (1.5.2) | Top Inlet Catch Basin with 600mm Offsite Manhole - COQ-S11B (Provisional) | ea. | 1
19.02 | (1.5.2) | Top Inlet Catch Basin MMCD S11 | ea. | 2
19.03 | (1.5.2) | Lawn Basin - COQ-S12A Type 1, 300mm c/w bottom, as per Appendix B | ea. | 1
19.04 | (1.5.3) | Manhole Frame and Lid Adjustments Only (Provisional) | ea. | 5
19.05 | (1.5.3) | Manhole Frame and Lid Replacement & Adjustments (Provisional) | ea. | 5
19.06 | 1.5.4 | Removal, Capping & Disposal of Catch Basins | ea. | 1
Total Tendered Price (exclude GST): $____________________________
(Transfer the amount to Form of Tender Summary Page 1)
Name of Contractor: