## Appendix 1
Form of Tender
CONTRACT # 84490
CEDAR DRIVE PUMP STATION AND SEWER MAINS
SCHEDULE OF QUANTITIES AND PRICES
(See paragraph 5.3.1 of the Instructions to Tenderers - Part II)
(All prices and Quotations including the Contract Price shall include all Taxes, but shall not include GST. GST shall be shown separately.)
ITEM NO. | MMCD or SSMP | DESCRIPTION | UNIT OF MEASURE | TOTAL QUANTITY | UNIT PRICE | TOTAL COST
1 | MMCD 01 33 01 PROJECT RECORD DOCUMENTS
1.01 | (1.8.1) | Contractor's Record Drawing Markups | Incidental
2 | MMCD 01 55 00 TRAFFIC CONTROL, VEHICLE ACCESS AND PARKING
2.01 | 1.5.1 | Traffic Control/Traffic Management | Incidental
2.02 | (1.5.2) | Traffic Control/Traffic Management for detour road in front of Drilling Equipment Pad | monthly | 3
3 | MMCD 01 57 01 ENVIRONMENTAL PROTECTION
3.01 | (1.6.1) | Environmental Protection (Sediment and Erosion Control Plans, Installation, Monitoring & Maintenance,temporary flow by-pass, re-vegetation) | Lump Sum | 1
4 | MMCD 01 58 01 PROJECT IDENTIFICATION
4.01 | (1.3.1) | Construction Zone Information Signs | ea. | 6
4.02 | (1.3.2) | Changeable Message Signs (Qty 1) | month | 2
5 | MMCD 01 53 01 TEMPORARY FACILITIES
5.01 | (1.9.2) | Dewatering of all work areas | Lump Sum | 1
5.02 | (1.9.3) | Exit Pit Requirements Victoria Drive at Freemont (OPTIONAL) | Allowance | 1 | 10000
5.03 | (1.9.4) | Steel Sheet Piling along Partington Creek | Square Meter | 210
5.04 | (1.9.5) | Temporary Detour | Lump Sum | 1
5.05 | (1.9.5) | Drilling Pad | Lump Sum | 1
6 | SCS 03 30 00 - CAST IN PLACE CONCRETE
6.01 | SSMP 1.9.1 | Concrete Slab on Grade - Future Odour Control Kiosk | Cubic Meter | 3
6.02 | SSMP 1.9.1 | Concrete Slab on Grade - Generator Pad | Cubic Meter | 4.5
6.03 | SSMP 1.9.1 | Concrete Slab on Grade and Strip Footing - Pump Station Electrical Building and Storage / Workshop Room | Lump Sum | 1
6.04 | SSMP 1.9.1 | Concrete Slab on Grade - Transformer Pad | Cubic Meter | 6
6.05 | SSMP 1.9.2 | Wet Well and Valve Chamber | Cubic Meter | 215
7 | SCS 06 00 00 STRUCTURES
7.01 | SSMP 1.8.1 | Electrical/Mechanical Building (complete) | Lump Sum | 1
8 | SCS 26 00 00 - ELECTRICAL
8.01 | SSMP 1.8.1 | BC Hydro Invoice - Cash Allowance (OPTIONAL) | Allowance | 1 | 75000
8.02 | SSMP 1.8.2 | Power Switchboard | Lump Sum | 1
8.03 | SSMP 1.8.2 | Motor Controls / VFD | Lump Sum | 1
8.04 | SSMP 1.8.3 | 3RD VFD (OPTIONAL) | Lump Sum | 1
8.05 | SSMP 1.8.2 | Building Services | Lump Sum | 1
8.06 | SSMP 1.8.2 | PLC / SCADA Controls | Lump Sum | 1
8.07 | SSMP 1.8.2 | Instrumentation | Lump Sum | 1
8.08 | SSMP 1.8.2 | Power and Controls Installation / Wiring | Lump Sum | 1
8.09 | SSMP 1.8.4 | Standby Generator (OPTIONAL) | Lump Sum | 1
9 | MMCD 03 30 20 - CONCRETE WALKS, CURBS AND GUTTERS
9.01 | (1.4.5) | Concrete Sidewalk (excludes gravels) | Square Meter | 110
9.02 | (1.4.5) | Concrete Driveway Letdowns (excludes gravels) | Square Meter | 15
10 | MMCD 31 24 13 - ROADWAY EXCAVATION, EMBANKMENT AND COMPACTION
10.01 | (1.8.5) | Common Excavation - Onsite reuse (reuse of preload granular fill to adjacent road preload site) (OPTIONAL) | Cubic Meter | 900
10.02 | (1.8.5) | Common Excavation - Including Offsite Disposal (OPTIONAL) | Cubic Meter | 900
11 | MMCD 31 23 01 - EXCAVATION, TRENCHING AND BACKFILLING
11.01 | (1.10.9) | Wet Well and valve Chamber excavation, shoring and backfill complete | L.S | 1
12 | MMCD 32 11 23 – GRANULAR BASE
12.01 | (1.4.3) | 25mm Minus Crushed Granular Base | Tonne | 400
13 | MMCD 32 12 16 – HOT-MIX ASPHALT CONCRETE PAVING
13.01 | (1.5.1) | Machine Laid Hot Mix Asphalt (75mm thick MMCD UC #1) (Pump Station Site Only, all other areas that require asphalt paving to be included in other units) | Tonne | 80
14 | MMCD 32 31 13 - CHAIN LINK FENCES AND GATES | CHAIN LINK FENCES AND GATES
14.01 | 1.5.1 | Chain Link Fence with black coating as shown on Contract Drawings | lin-m | 82
14.02 | 1.5.2 | Chanin Link Fence Gate with black coating as shown on Contract Drawings | lin-m | 8
14.03 | (1.5.5) | Removable Bollards | Each | 7
14.04 | (1.5.6) | W-Beam Barrier on Timber Posts | lin.m | 9
15 | MMCD 32 92 19 –HYDRAULIC SEEDING
15.01 | 1.8.1 | Hydroseeding | Square Meter | 80
16 | MMCD 32 91 21 – TOPSOIL AND FINISH GRADING
16.01 | (1.4.1) | Topsoil | Cubic Meter | 40
17 | MMCD 32 93 01 – PLANTING OF TREES, SHRUBS AND GROUND COVERS
17.01 | 1.9.1 | Hedges (1.8m Cedar hedge @ 1m spacing) | Linear Meter | 62
18 | MMCD 33 11 01 – WATERWORKS
18.01 | (1.8.4) | 50mm Water Service (COMPLETE) (Includes water meter, DCVA, valves, fittings, tie-in at the main, quick connect, precast boxes, and all other necessary work) | Each | 1
18.02 | (1.8.15) | 50mm Water Service to Wet Well (complete included tee and actuating valve, ball valve, sch 40 pipe inside and outside of wet well, and all other works incidental to installation) | Each | 1
19 | SCS 33 05 25 – HORIZONTAL DIRRECTIONAL DRILLING
19.01 | SSMP 3.1 | 450mm (18") DR11 HDPE Sanitary Main (HDD Trihawk Method) | Linear Meter | 370
19.02 | SSMP 3.1 | 450mm (18") DR11 HDPE Sanitary Main c/w Temporary Cap (HDD All-Terrain Method) | Linear Meter | 210
19.03 | SSMP 3.1 | 500mm (20") DR11 HDPE Sanitary Forcemain (HDD Trihawk Method) | Linear Meter | 710
20 | MMCD 33 30 01 – SANITARY
20.01 | (1.6.2) | 200mm SDR35 PVC Sanitary Main c/w Temporary Cap (Stub-out) | Linear Meter | 2
20.02 | (1.6.2) | 250mm SDR35 PVC Sanitary Main c/w Temporary Cap (Stub-out) | Linear Meter | 5
20.03 | (1.6.2) | 450mm SDR35 PVC Sanitary Main c/w Temporary Cap (Stub-out) | Linear Meter | 10
20.04 | (1.6.2) | 600mm SDR35 PVC Sanitary Main | Linear Meter | 31
20.05 | (1.6.8) | 600mm Sluice Gate (inside manhole SMH5) | Each | 1 |  |  | 600mm Sluice Gate (inside manhole SMH5)
21 | MMCD 33 34 01 – SEWAGE FORCEMAINS
21.01 | 1.8.1 / 1.8.2 | 150mm (6") DR11 HDPE Sanitary Forcemain (Emergency Connection) c/w Bends, fittings, quick connect, frame and lid | Linear Meter | 10
21.02 | 1.8.1 / 1.8.2 | 350mm (14") DR21 HDPE Sanitary Forcemain (Open Cut Method) | Linear Meter | 48
21.03 | 1.8.1 / 1.8.2 | 500mm (20") DR11 HDPE Sanitary Forcemain (Open Cut Method) | Linear Meter | 90
21.04 | 1.8.3 | 350x500 DR11 HDPE Reducer | Each | 1
21.05 | 1.8.3 | 150mm Gate Valve | Each | 1
21.06 | 1.8.3 | 500mm Gate Valve | Each | 2
21.07 | 1.8.4 | 450mm SCH40 Steel Casing c/w Foam Insulation and Archoring | Linear Meter | 14
21.08 | 1.8.6 | Sewage Air Release Valve (COMPLETE) (includes tie-in at the main, leads, fittings, air release valve, frame and lid) | Each | 1
21.09 | (1.8.11) | Pigging Connection (COMPLETE) (includes tie-in at the main, leads, fittings, valves, frame and lid) | Each | 2
21.1 | 1.8.10 | Existing 350mm DR21 HDPE Tie-in | Each | 1
22 | MMCD 33 40 01 – STORM SEWERS
22.01 | (1.6.5) | 150mm SDR28 PVC CB Lead | Linear Meter | 26
23 | MMCD 33 44 01 – MANHOLES AND CATCHBASINS
23.01 | (1.5.1.1) | 1050mm Concrete Sanitary Manhole Base c/w Benching, Slab, Frame and Cover | Each | 1
23.02 | 1.5.1.2 | 1050mm Sanitary Manhole Risers | Vert. Meter | 8
23.03 | (1.5.1.5) | 200mm Outside Drop Assembly | Each | 1
23.04 | (1.5.1.1) | 1200mm Concrete Sanitary Manhole Base c/w Benching, Slab, Frame and Cover | Each | 1
23.05 | 1.5.1.2 | 1200mm Sanitary Manhole Risers | Vert. Meter | 18
23.06 | (1.5.1.1) | 1500mm Concrete Sanitary Manhole Base c/w Benching, Slab, Frame and Cover | Each | 2
23.07 | 1.5.1.2 | 1500mm Sanitary Manhole Risers | Vert. Meter | 10
23.08 | (1.5.1.1) | 2400mm Concrete Sanitary Manhole Base c/w Benching, Slab, Frame and Cover | Each | 1
23.09 | (1.5.1.2) | 2400mm Sanitary Manhole Risers | Vert. Meter | 5
23.1 | 1.5.2 | Lawn Drain (MMCD S12 Type 2) | Each | 1
24 | SCS 40 00 00- MECHANICAL
24.01 | SSMP 1.8.1 | HVAC Equipment as per Drawing Schedule on Mechanical Drawings | Lump Sum | 1
24.02 | SSMP 1.8.1 | Plumbing | Lump Sum | 1
24.03 | SSMP 1.8.1 | Stainless steel pipes and couplings | Lump Sum | 1
24.04 | SSMP 1.8.1 | PVC pipes (SCH 40) within wetwell | Lump Sum | 1
24.05 | SSMP 1.8.1 | Hangers and Supports | Lump Sum | 1
24.06 | SSMP 1.8.1 | Process Valves within Valve Chamber | Lump Sum | 1
24.07 | SSMP 1.8.1 | Wall mounted sluice gate (600 mm diameter) - Stainless Steel 316 | each | 1
24.08 | SSMP 1.8.1 | Submersible Pumps | each | 2
24.09 | SSMP 1.8.1 | Submersible Mixer | each | 1
24.1 | SSMP 1.8.1 | Carbon Adsorber Odour Control System c/w FRP Pipes | each | 1
Total Tendered Price (exclude GST):
(Transfer the amount to Form of Tender Summary Page 1)
Name of Contractor: