## SOQ
REVISED - APPENDIX 1 - REVISION 3
FORM OF TENDER
Contract 77522
United Boulevard Multi-Use Pathway
SCHEDULE OF QUANTITIES AND PRICES
(see paragraph 5.3.1 of the Instruction to Tenderers)
(All Tender and Contract Prices shall NOT include GST. GST will apply upon payment)
(Should there be any discrepancy in the information provided, the City’s original file copy shall prevail)
ITEM NO. | MMCD Ref. / (Supplementary Contract Specifications) | DESCRIPTION | UNIT | QTY | UNIT PRICE | EXTENDED AMOUNT
1 | 01 58 01S | PROJECT IDENTIFICATION
1.01 | (1.3.1) | Construction Zone Information Signs | ea. | 2
2 | 03 30 20S | CONCRETE WALKS, CURBS AND GUTTERS
2.01 | (1.4.3) | Concrete Curb & Gutter - Wide Base – MMCD C5 | l.m | 240
2.02 | (1.4.3) | Concrete Curb - 150mm High Extruded | l.m | 8
2.03 | (1.4.5) | Concrete Sidewalk & Walkway Connectors & Wheelchair Letdown - 100mm thick – Broom Finished c/w 100mm Granular Base; and as shown and described in the Contract Documents | sq.m | 20
2.04 | (1.4.10) | Tactile Strip - 24x60in - Access Tile, Yellow color - removable type | ea. | 6
3 | 26 56 01S | ROADWAY LIGHTING
3.01 | 1.9.2 | Relocate Existing Street Lights and Base as per Contract Drawings | l.s. | 1
4 | 31 11 01S | CLEARING AND GRUBBING
4.01 | (1.4.1) | Clearing & Grubbing | l.s. | 1
5 | 31 24 13S | ROADWAY EXCAVATION, EMBANKMENT AND COMPACTION
5.01 | (1.8.4) | Removal and Disposal of Existing Concrete Sidewalk and Asphalt Driveways , including asphalt curb (Sawcut, Removal and Offsite Disposal) | sq.m | 570
5.02 | (1.8.4) | Removal of Existing Asphalt Roadway (Sawcut, Removal and Offsite Disposal) | sq.m | 580
5.03 | (1.8.4) | Removal of Existing Asphalt Roadway - 350mm Thick Over EPS - Station 1+225 to 1+1274 (Sawcut, Removal and Offsite Disposal) | sq.m | 100
5.04 | (1.8.4) | Removal and Disposal of Existing Concrete Curb and Gutter | l.m. | 240
5.05 | (1.8.4) | Railway Removal and Excavation Including Offsite Disposal | l.s. | 1
5.06 | (1.8.5) | Common Excavation including Off Site Disposal | cu.m | 530
6 | 32 11 16.1S | GRANULAR SUBBASE
6.01 | (1.4.3) | 75mm Minus Granular Sub Base, variable thickness (Provisional) | tonne | 410
7 | 32 11 23S | GRANULAR BASE
7.01 | (1.4.3) | 19mm Minus Granular Base, variable thickness (Provisional) | tonne | 352
8 | 32 12 16S | HOT-MIX ASPHALT CONCRETE PAVING
8.01 | (1.5.1) | Asphaltic Concrete Paving - Machine Laid Upper Course #1 - 50mm | tonne | 35
8.02 | (1.5.1) | Asphaltic Concrete Paving - Machine Laid Lower Course #1 - 50mm | tonne | 30
8.03 | (1.5.3) | Asphaltic Concrete Paving - Machine Laid Upper Course #2 - 50mm MUP & Driveway | tonne | 130
8.04 | (1.5.3) | Asphaltic Concrete Paving - Machine Laid Lower Course #2 - 50mm Driveway | tonne | 25
8.05 | (1.5.3) | Asphalt Stamping - Concrete Grey with Offset Brick Pattern | sq.m. | 95
8.06 | 1.5.4 | Asphalt Extruded Curb - 150mm High | tonne | 4
9 | 32 17 23S | PAINTED PAVEMENT MARKINGS
9.01 | (1.5.3) | Supply & Installation Thermoplastic Pavement Markings | l.s. | 1
9.02 | (1.5.3) | Supply & Installation of "Vancouver Green" MMA Paint | l.s. | 1
9.03 | (1.5.4) | Remove and Reinstate Existing Signage, Eradicate Existing Markings as per Contract Drawings | ea. | 7
9.04 | (1.5.4) | Install New Signage and Sign Structure (City Supplied Signs) | ea. | 8
10 | 32 31 13 | CHAIN LINK FENCES AND GATES
10.01 | (1.5.5) | MOTI 2891-2 Railing | l.m. | 65
10.02 | (1.5.4) | Removable Steel Bollards - Model R-901 c/w base receiver. Refer to Appendix B. | ea. | 4
11 | 32 91 21S | TOP SOIL AND FINISH GRADING
11.01 | (1.4.1) | Imported Topsoil - 150mm Thick | cu.m | 45
12 | 32 92 19S | HYDRAULIC SEEDING
12.01 | 1.8.2 | Hydraulic Seeding | sq.m | 300
13 | 33 40 01S | STORM SEWERS
13.01 | (1.6.5) | Catch Basin/Lawn Basin connection - 150mm SDR28 PVC (including sanded stubs) | l.m | 16
14 | 33 44 01S | MANHOLES AND CATCHBASINS
14.01 | (1.5.2) | Top Inlet Catch Basin MMCD S11 | ea. | 4
14.02 | 1.5.4 | Removal, Capping & Disposal of Catch Basins | ea. | 4
Total Tendered Price (exclude GST): $____________________________
(Transfer the amount to Form of Tender Summary Page 1)
Name of Contractor: