## Tab 1
GLEN PINE
Unit Id | Description | Mfg Name | Model | Serial No
E28593 | Reach in Cooler | HABCO BEVERAGE SYSTEM | SE2HSA | 23005268
E33163 | Reach in Cooler | HABCO BEVERAGE SYSTEM | SE46SA | 47051196
E29696 | Reach in freezer | HABCO BEVERAGE SYSTEM | SF46SA | 48002371
E30565 | Display case | QUEST | QFDST-SCU | 672
E30564 | Under counter cooler | TRUE MANUFACTURING | TWT-60-HC | 9493639
E30566 | Reach in Cooler | TRUE MANUFACTURING | GDM-09-SQ-HC-LD | 9556985
E29533 | Reach in Cooler | HABCO BEVERAGE SYSTEM | SE24SA | 23006293
E34444 | Freezer | HABCO BEVERAGE SYSTEM | SF24HCSA | 25007019
E34443 | Cooler | TRUE MANUFACTURING | T-23-HC | 10131951
E39210 | Ice Machine | ICE-O-MATIC | ICEU220HAI | contractor to confirm

## Tab 2
CENTENNIAL HALL
Unit Id | Description | Mfg Name | Model | Serial No
E33162 | Reach in Cooler | HABCO BEVERAGE SYSTEM | SE46SA | 47051273

## Tab 3
Poirier Sport and Leisure Complex
Unit Id | Description | Mfg Name | Model | Serial No | Location
E07171 | Grill Stand | TRUE MANUFACTURING | TRCB-52-60 | 5191139 | Main
E07168 | Walk in Cooler | CDN CURTIS REFRIGERATION | WIC | 100563935 | Arena 1
E07169 | Evaporator coil | KEEPRITE | KLP107MA1-61B | 102107673 | Arena 1
E07170 | Compressor | TECUMSEH | 32B730-1 | 1603116139015 | Arena 1
E07165 | Reach in Cooler | TRUE MANUFACTURING | GDM-41 | 5267362 | Arena 1
E07158 | Ice Machine | MANITOWOC ICE | SD0322A | 110676750 | Main
E07164 | Reach in Freezer | TRUE MANUFACTURING | T-23F | 5033386 | Main
E07163 | Beer Dispenser - Direct Draw | TRUE MANUFACTURING | TDD-3 | 6692425 | Main
E07161 | Walk in Cooler | NORBEC | PP-330-12-L | 15/06/2009 | Main
E07159 | Compressor | COPELAND | RSS24RFE | 09G71035U | Main
E07155 | Walk in Freezer | NORBEC | PP-330-12-L-C1 | 23/09/2009 | Main
E07157 | Compressor | COPELAND | FJAL-A101CAV072 | 09B06 | Main
E07156 | Evaporator Coil | BOHN REFRIGERATION | LET-047BK | T09C03662 | Main
E07167 | Reach in Freezer | TRUE MANUFACTURING | T-49F | 6800581 | Arena 1
E07160 | Reach in Cooler | HABCO BEVERAGE SYSTEM | SE18M | 18005269 | Main
E07166 | Beer Dispenser - Direct Draw | TRUE MANUFACTURING | TDD-2 | 6608882 | Arena 1
E07172 | Ref. Prep Table | TRUE MANUFACTURING | TSSU-48-12 | 5262507 | Main
E07174 | Display Case | TRUE MANUFACTURING | TCGG-36-S | 5260029 | Main
E07173 | Ref. Prep Table | TRUE MANUFACTURING | TSSU-27-080-2 | 5302068 | Main
E31702 | Evaporator Coil | BOHN REFRIGERATION | ADT-052AK | ST17C22194 | Main
E33663 | Reach in Cooler | QBD MODULAR SYSTEM | DC40S | 1ZF0504006515 | Main

## Tab 4
DOGWOOD PAVILION
Unit Id | Description | Mfg Name | Model | Serial No
E04512 | Reach in Cooler | TRUE MANUFACTURING | TSD-47G | 5137791
E24231 | Reach in Cooler | BEVERAGE AIR | WTR72 | 6808251
E04513 | Reach in Cooler | TRUE MANUFACTURING | GDM-7 | 4969359
E04511 | Walk in Cooler | COLDSTREAM | DF-WIC | 207721-2
E04526 | Condensing unit | COPELAND | F3AHAD78IAV091 | B02K07
E13835 | Ref. Prep Table | BEVERAGE AIR | SPE60-12 | 10700713
E17816 | Reach in Freezer | HABCO BEVERAGE SYSTEM | SF46SA | 48001907
E19079 | Reach in Freezer | HABCO BEVERAGE SYSTEM | SF24SA | 25005138
E23837 | Evaporator Coil | BOHN REFRIGERATION | ADT-065AK | ST16D22697
E33320 | Ice Machine | ICE-O-Matic | ICEU220HA4 | 19061280012963
E29535 | Reach in Cooler | HABCO BEVERAGE SYSTEM | SE24SA | 23006279
E30567 | Reach in Cooler | HABCO BEVERAGE SYSTEM | SF24SA | 25005510
E34445 | Reach in Freezer | HABCO BEVERAGE SYSTEM | SF24SA | 25005630
E29534 | Reach in Cooler | HABCO BEVERAGE SYSTEM | SF24SA | 25005422