## List of Assets 2022
City Of Coquitlam RFP 22-060
Pumps and Cooling Towers
Appendix B - Pump Equipment Inventory List
Asset | Description | Location | Asset Tag | Serial # | Model # | Cost per Bi-Annual PM Service (completed every 6 months)
BD0334 | Town Centre Fire Administration Building | 1300 Pinetree Way
53923 | Pump, P-1, Mezz Mech Rm, Heating water | BD0334.D3040 | P-1 |  | Series '90' 1-1/2A
53924 | Pump, P-2, Mezz Mech Rm, Heating water | BD0334.D3040 | P-2 |  | Series '90' 1-1/2A
53925 | Pump, P-3, Mezz Mech Rm, Chilled water | BD0334.D3040 | P-3 |  | Series '80' 2X2X9-1/2B
53926 | Pump, P-4, Mezz Mech Rm, Chilled water | BD0334.D3040 | P-4 |  | Series '80' 2X2X9-1/2B
53929 | Pump, HRP-1 | BD0334.D3040 | HRP-1 |  | NBF-36
BD0341 | Mundy Park Fieldhouse | 629 Hillcrest Street
75781 | Recric Pump, RP-1, Mehanical Room 106, DHW For Building, Mundy Park F/H | BD0341.D2020 | RP-1 |  | UP 15-10 SU7P/TLC
BD0346 | Evergreen Cultural Centre | 1205 Pintree Way
45578 | Primary HW Pump, Mechanical Room | BD0346.D2020 | P2 |  | 3008
45577 | Primary HW Pump, Mechanical Room (main floor klin room/storage) | BD0346.D2020 | P1 |  | 3008
45589 | Pump, P-11, Primary Cold Water, Evergreen Mechanical Room (gallery storage room) | BD0346.D2020 | P-11 |  | 121
45590 | Pump, P-12, Primary Cold Water, Evergreen Mechanical Room (gallery storage room) | BD0346.D2020 | P-12 |  | 120
45581 | Pump, THX P-F-1 (pulls Hot or Cold from Thermenex)(Original P3) Mechanical room | BD0346.D3090 | P-3 |  | 3010
45582 | Pump, THX P-F-2 (pulls Hot or Cold from Thermenex)(Original P4) Mechanical room | BD0346.D3090 | P-4 |  | 3010
BD0348 | Place Des Arts | 1120 Brunette Ave
45685 | Pump, CP-02, Domestic Water Distribution Circulation, Place Des Arts Upper Floor Mechanical Room | BD0348.D2020 | CP2 | 1095 | H-52-1-BF
45684 | Pump, P-1, Domestic Hot Water Circ Pump at Place Des Arts Upper Floor Mechanical Room | BD0348.D2020 | P-1 |  | UPS 26-99 BFC
45693 | Pump, P-01, Boiler Circulation, Place Des Arts Mechanical Room - Ryan House | BD0348.D3020 | P-1 | N/A | N/A
BD0363 | Poirier Community Centre | 630 Poirier Street
56405 | Circulation Pump, Lower Floor, P-1 | BD0363.D3020 | P-1 |  | U-1
BD0369 | Poirier Administration | 640/644 Poirier Street
72867 | Pump, P-1, Primary Hot Water Circ Pump, Boiler Room - Poirier Admin ( South ) | BD0369.D3020 | P-1
BD0375 | City Centre Aquatic Complex - CCAC | 1210 Pinetree Way
47334 | Pump, P-27B, Domestic Hot water, CCAC Boiler Room | BD0375.D2020 | P-27B | 2692632 | DE6203-2RS
47333 | Pump, P-27A, Domestic Hot water, CCAC Boiler Room | BD0375.D2020 | P-27A | D30 | 1AM003
47335 | Pump, P-40, Sanitary Waste Submersible, CCAC Exterior Manhole | BD0375.D2030 | P-40
47336 | Pump, P-41, Sanitary Waste Submersible, CCAC Exterior Manhole | BD0375.D2030 | P-41
47337 | Pump, P-25, Boiler Cicrulation, Boiler # 1, CCAC Boiler Room | BD0375.D3020 | P-25(THX-P-A-1) | 58862L39 | 80BF4X7
45323 | Pump, P-23, Hot Water Circulation Loop, CCAC Boiler Room, | BD0375.D3020 | P-23(THX-P-E-1) | 58859L39 | 80BF5X7
45324 | Pump, P-24, Hot Water Circulation Loop, CCAC Boiler Room | BD0375.D3020 | P-24(THX-P-E-2) | 58860L39 | 80BF5X7
45325 | Pump, P-26, Boiler Cicrulation , Boiler # 2, CCAC Boiler Room | BD0375.D3020 | P-26(THX-P-A-2) | 58862139 | 80BF4X7
3056 | Pump, P-28 - Leisure Pool Heating (Increase Flow Through HE -2) | BD0375.D3040 | P-28 | P1 1732 | UPS26-150F
3057 | Pump, P-29 (Spare) See 3056 | BD0375.D3040 | P-29 | P1 1520 | UPS26-150F
70759 | THX pump, MTEC unit circulation, upper mechanical room | BD0375.D3090 | THX-P-B-1 | N/A | UPS-80-160F Model C
70760 | THX pump, MTEC unit circulation, upper mechanical room | BD0375.D3090 | THX-P-B-2 | N/A | UPS-80-160F Model C
70761 | THX pump 3, swirl pool heating water, boiler room | BD0375.D3090 | THX-P-E-3 | 10000470 | 40-180 F 216
70762 | THX pump, warm transfer, (connected to City Hall) | BD0375.D3090 | THX-P-C-2 | 1971095675-10A | 131-60957-640101-2723 EEX
70763 | THX pump, domestic heating water, boiler room | BD0375.D3090 | THX-P-D-1 | N/A | UPS-50-240F Model C
70764 | THX pump, domestic heating water, boiler room | BD0375.D3090 | THX-P-D-2 | N/A | UPS-50-240F Model C
70765 | THX pump, domestic heating water, boiler room | BD0375.D3090 | THX-P-D-3 | N/A | UPS-32-160 Model C
70766 | THX Pump, AHU 2 and re-heat coils, upper mechanical room (with VSD) | BD0375.D3090 | THX-P-F-1 | 10000176 | 100-120 F 450
70767 | THX pump, cool transfer, (connected to City Hall and with VSD) | BD0375.D3090 | THX-P-G-2 | 1971095675-10A | 131-60957-640101-2723-EEX
70768 | THX pump, heat re-claim, upper mechanical room (with VSD) | BD0375.D3090 | THX-P-G-3 | 1971095675-10A | 131-60957-640101-2723-EEX
70769 | THX pump, AHU 3 heat / cool, upper mechanical room | BD0375.D3090 | THX-P-H-1 | 10000182 | 100-120 F 450
70770 | THX pump, AHU 4 heating, upper mechanical room | BD0375.D3090 | THX-P-I-1 | 10001038 | 100-120 F 216
70771 | THX pump, AHU 5 heat / cool, upper mechanical room | BD0375.D3090 | THX-P-J-1 | 10001080 | 100-120 F 216
70772 | THX pump, AHU 6 heat / cool, upper mechanical room | BD0375.D3090 | THX-P-K-1 | 10001064 | 100-120 F 216
72860 | Pump, THX-P-A-3, Boiler Circulation, Boiler Room - CCAC | BD0375.D3090 | THX-P-A-3 | 10000470 | MAGNA3 40-180 F 216
3081 | Pump, P-01, Main Pool, CCAC Pool Mechanical Room | BD0375.F1110 | P-1 |  | 1531 5E
3082 | Pump, P-02, Main Pool, CCAC Pool Mechanical Room | BD0375.F1110 | P-2 |  | 1531 5E
3083 | Pump, P-03, Leisure Pool, CCAC Pool Machanical Room | BD0375.F1110 | P-3 | 3-E | 1531 5E
3084 | Pump, P-04, Swirl Pool, CCAC Pool Mechanical Room | BD0375.F1110 | P-4 | 1AK138LFL51 | 1531-BF
3089 | Pump, P-11, Rain Drop Feature, CCAC Pool Mechanical Room | BD0375.F1110 | P-11 | 58855L39 | 1531-BF
3097 | Pump, P-20, Ozone Main Pool , CCAC Ozone System Room | BD0375.F1130 | P-20
3098 | Pump, P-21, Ozone Leisure Pool , CCAC Ozone System Room | BD0375.F1130 | P-21
3092 | Pump, P-13, Chlorine Injector (Main Pool), CCAC Chlorine Room | BD0375.F1140 | P-13
3093 | Pump, P-14, Chlorine Injector (Swirl Pool), CCAC Chlorine Room | BD0375.F1140 | P-14
3091 | Pump, P-12, Chlorine Injector ( Leisure Pool) , CCAC Chlorine Room | BD0375.F1140 | P-12
3090 | Pump, P-10, Rapids (Leisure Pool), CCAC Pool Mechanical Room | BD0375.F1170 | P-10 | 58854L39 | 1531-BF 4AC
3085 | Pump, P-05, Jets (Swirl Pool), CCAC Pool Mechanical Room | BD0375.F1170 | P-5 | 1AK11155B81 | E-530SC SSF
3086 | Pump, P-07, Boat Gun and jets / Tree / Side Outlets(Leisure Pool), CCAC Pool Mechanical Room | BD0375.F1170 | P-7 | 6375 | 1531 1.5AB
3087 | Pump - P-08 - Leisure Tot Pool - Poppy Flower / Trough | BD0375.F1170 | P-8 | 58852C39 | 1531BF 2 1/2AB
3088 | Pump, P-09, Island Spray Feature (Leisure Pool), CCAC Pool Mechanical Room | BD0375.F1170 | P-9 | 58853L39 | 1531PF 1 1/4AC
47452 | Pump, P-36, Tot Pool Bubble Pit Compressor CCAC Pool Storage Room | BD0375.F1170 | P-36
BD0377 | City Hall | 3000 Guildford Way
45475 | Pump, Boiler Room 115, Boiler fuel transfer | BD0377.D3020 | OP-1 | X4468 | F182
45478 | Pump, Boiler Room 115, Day tank transfer | BD0377.D3020 | OP2 | X4466 | F182
59977 | Pump, P-106, Penthouse Mechanical Room, City Hall ICT Server Room | BD0377.D3030 | P-106 |  | Series 60-
59974 | Pump, P-103, Penthouse Mechanical Room, City Hall ICT Server Room | BD0377.D3030 | P-103 |  | Series 60-
59976 | Pump, P-105, Penthouse Mechanical Room, City Hall ICT Server Room | BD0377.D3030 | P-105 |  | Series 60-
59972 | Pump, P-101, Penthouse Mechanical Room, City Hall ICT Server Room | BD0377.D3030 | P-101 |  | Series 60-
59973 | Pump, P-102, Penthouse Mechanical Room, City Hall ICT Server Room | BD0377.D3030 | P-102 |  | Series 60-
59975 | Pump, P-104, Penthouse Mechanical Room, City Hall ICT Server Room | BD0377.D3030 | P-104 |  | Series 60-
45453 | Pump, P-08, AC-09 Heating coil, City Hall Mechanical Room 502 | BD0377.D3040 | P-8 | 12397 | S-25-BF
45476 | Pump, THX-P-A.2-1 (to Boiler), Boiler Room 115 (Original P1) | BD0377.D3090 | THX-P-A.2-1 | 81443 | 4X4X6
45477 | Pump, THX-P-A.2-2 (to Boiler), Boiler Room 115 (Original P2) | BD0377.D3090 | THX-P-A.2-2 | 81442 | 4X4X6
45479 | Pump, THX-P-B.2-1 (to Floor Radiant Heating) Boiler Room 115 (Original P4) | BD0377.D3090 | THX-P-B.2-1 | 81147 | 2X2X8
45399 | Pump, THX-P-C.2-1 (to AC 1 - 9), Room 115 (Original P-03A) | BD0377.D3090 | THX-P-C.2-1 | 822293 | 3X3X8
45400 | Pump, THX-P-C.2-2 (to AC 1 - 9), Room 115 (Original P-03B) | BD0377.D3090 | THX-P-C.2-2 | 822294 | 3X3X8
75736 | Pump, THX-P-B.2-2 (to South Radiant Panels) Boiler Room 115 | BD0377.D3090 | THX-P-B.2-2 |  | Magna3
75752 | Pump, THX-P-H-1 (to heat excanger) ICT Server Room / Penthouse Mechanical | BD0377.D3090 | THX-P-H-1 | 96408692 | UPS 40-80/4 F
75753 | Pump, THX-P-A-1 (Cond / Heat to MTEC-1) Room 117 | BD0377.D3090 | THX-P-A-1 | 10000181 | 3-100-120-F-450
75754 | Pump, THX-P-A-2 (Evap / Cool to MTEC-1) Room 117 | BD0377.D3090 | THX-P-A-2 | 10000187 | 3-100-120-F-450
75755 | Pump, THX-P-A-3 (Cond / Heat to MTEC-2) Room 117 | BD0377.D3090 | THX-P-A-3 | 10000186 | 3-100-120-F-450
75756 | Pump, THX-P-A-4 (Evap / Cool to MTEC-2) Room 117 | BD0377.D3090 | THX-P-A-4 | 10000188 | 3-100-120-F-450
75757 | Pump, THX-P-A-5 (Cond / Heat to MTEC-3) Room 117 | BD0377.D3090 | THX-P-A-5 | 10000186 | 3-100-120-F-450
75758 | Pump, THX-P-A-6 (Evap / Cool to MTEC-3) Room 117 | BD0377.D3090 | THX-P-A-6 | 10000185 | 3-100-120-F-450
75760 | Pump, THX-P-A-8 (Evap / Cool to MTEC-4) Room 117 | BD0377.D3090 | THX-P-A-8 | 10000184 | 3-100-120-F-450
75761 | Pump, THX-P-B-1 (to Cooling Tower) Room 117 | BD0377.D3090 | THX-P-B-1 | 1971095675-70A | 131-5012A-6A0101-2723EEX
75762 | Pump, THX-P-B-2 (to Cooling Tower) Room 117 | BD0377.D3090 | THX-P-B-2 | 1971095675-70B | 131-5012A-6A0101-2723EEX
75763 | Pump, THX-P-C-1 (Warm Transfer to CCAC) Room 117 | BD0377.D3090 | THX-P-C-1 | 1971095675-90A | 131-60957-6A0101-2723EEX
75764 | Pump, THX-P-D-1 (Chilled Water to PSB) Room 117 | BD0377.D3090 | THX-P-D-1 | 1971095675-30 | 131-40127-6A0101-2663EEX
75765 | Pump, THX-P-E-1, (Chilled water to cooling coils) Room117 | BD0377.D3090 | THX-P-E-1 | 1971095675-50A | 131-5012A-6A0101-2723EEX
75766 | Pump, THX-P-E-2, (Chilled water to cooling coils) Room117 | BD0377.D3090 | THX-P-E-2 | 1971095675-50B | 131-60957-6A0101-2723EEX
75767 | Pump, THX-P-G-1 (Cool Transfer to CCAC) Room 117 | BD0377.D3090 | THX-P-G-1 | 1971095675-90B | 131-5012A-6A0101-2723EEX
75759 | Pump, THX-P-A-7 (Cond / Heat to MTEC-4) Room 117 | BD0377.D3090 | THX-P-A-7 | 10000183 | 3-100-120-F-450
75739 | Pump, THX-P-B.2-3 (to North Radiant Panels) Boiler Room 115 | BD0377.D3090 | THX-P-B.2-3
BD0378 | Public Safety Building - RCMP | 2986 Guildford Way (RCMP)
45536 | Pump, Boiler Room, Boiler 01 | BD0378.D3020 | P1 | H99 | M10532
45537 | Pump, Boiler Room, Boiler 02 | BD0378.D3020 | P2 | N/A | LD3/J59
45539 | Pump, Boiler Room, South heating zone | BD0378.D3020 | P4 | 1979996 | Series 60
45538 | Pump, Boiler Room, North heating zone, Public Safety Building | BD0378.D3020 | P5 | 1E79995 | SeriesHV
45516 | Pump, AHU-1 | BD0378.D3040 | P6 | N/A | Series HV
45542 | Pump, THX-P-C.1-1, Primary Hot Water - Boiler Room (Original P3A) | BD0378.D3090 | THX-P-C.1-1 | 64108F69 | 8013F
45543 | Pump, THX-P-C.1-2, Primary Hot Water - Boiler Room (Original P3B) | BD0378.D3090 | THX-P-C.1-2 | 64108F69 | 8013F
75734 | Pump, THX-P-B.1-1, South Heating Zone, Boiler Room | BD0378.D3090 | THX-P-B.1-1 | 100001081 | 3-40-120-F-216
75733 | Pump, THX-P-B.1-2, North Heating Zone, Boiler Room | BD0378.D3090 | THX-P-B.1-2 | 100001065 | 3-40-120-F-216
BD0412 | Poirier Sport and Leisure Complex (PSLC) - POOL | 633 Poirier Street
45215 | Pump 005, Boiler Room, Domestic Hot Water Circulation | BD0412.D2020 | P-5 | 1BL068L80 | PL55-B
45216 | Pump 006, Boiler Room, Heat Exchanger 5 | BD0412.D2020 | P-6 | 1BL068L70 | PL55-B
45217 | Pump 007, Boiler Room, Heat Exchanger 4 | BD0412.D2020 | P-7 | 1BL068L90 | PL55-B
45218 | Pump 008, Boiler Room, Heat Pump Loop | BD0412.D2020 | P-8 | 1BL068L50 | PL55-B
45219 | Pump 009, Boiler Room, Solar Storage loop | BD0412.D2020 | P-9 | 1BL068L60 | PL55-B
45223 | Pump 010, West Crawl Space, Water Cistern | BD0412.D2040 | P-10 |  | 1531-BF
45231 | Pump 3, Boiler Room, Heating Circulation | BD0412.D3020 | P-3 | 704643A | Series 80-BF
45229 | Pump 001, Boiler Room, Boiler 1 Circulation | BD0412.D3020 | P-1 |  | Series 80
45230 | Pump 002, Boiler Room, Boiler 2 Circulation | BD0412.D3020 | P-2 |  | Series 80
45232 | Pump 004, Boiler Room, Heating Circulation | BD0412.D3020 | P-4 | 704643B | Series 80-BF
51735 | Pump (P-121), Existing Pool Room, EX-ST-1 | BD0412.D3090 | P-121
51731 | Pump (P-114), Existing Pool Room, Pool Heat Exchangers, System B.1 | BD0412.D3090 | P-114
51733 | Pump (P-116), Existing Pool Room, Geothermal Field Circulation | BD0412.D3090 | P-116
51732 | Pump (P-113), Existing Pool Room, Back Up Heat for Thermenex, System B.2 | BD0412.D3090 | P-113
51739 | Pump (P-130), Existing Pool Room, TGH Domestic Hot Water Preheat | BD0412.D3090 | P-130
51730 | Pump (P-110), Existing Pool Room, Evaporator Circulation (CH-1) | BD0412.D3090 | P-110
51734 | Pump (P-120), Existing Pool Room, HX-105 | BD0412.D3090 | P-120
45310 | Pump 201 , Mechanical Room, Belle Spray | BD0412.F1100 | P-201 |  | JM3108-5
45311 | Pump 203, Mechanical Room, Spray Arch | BD0412.F1100 | P-203 |  | JM3108-5
45312 | Pump 204, Mechanical Room, Lemon Drop | BD0412.F1100 | P-204 | 700852 | 1531-BF
45313 | Pump 205, Mechanical Room, Geyser | BD0412.F1100 | P-205 |  | JM3108-5
45314 | Pump 206, Mechanical Room, Lazy River | BD0412.F1100 | P-206 | 700853 | 1531-BF
45315 | Pump 208, Mechanical Room, Therapy Spray | BD0412.F1100 | P-208 | 700834 | 1561-BF
45306 | Pump, P-100, Leisure Pool Circulation, PSLC ( Pool ) Basement Mechanical Room | BD0412.F1110 | P-100 | 700847B | 1531-BF
45307 | Pump, P-101, Main Pool Circulation, PSLC ( Pool ) Basement Mechanical Room | BD0412.F1110 | P-101 | 700847A | 1531-BF
45308 | Pump, P-102, Hot Tub Circulation, PSLC ( Pool ) Basement Mechanical Room | BD0412.F1110 | P-102 | 700848 | 1531-BF
45309 | Pump, P-103, Hot Tub Pool Jets, Pslc ( Pool ) Basement Mechanical Room | BD0412.F1110 | P-103 | 700849 | 1531-BF
Pump, 202, bubbler, leisure pool
Pump, 207, Bubbler, leisure pool
Pump, 209, Leisure pool, feature
Pump, 210, Leisure pool, feature
Pump, 112, Thermenex System A
Pump, 115-A, Thermenex System B
Pump, 115-B, Thermenex System C
Pump, 118, System B.3 - C
Pump, System B.2, Boiler Back up
BD0421 | Poirier Sport and Leisure Complex (PSLC) - ARENA | 633 Poirier Street
51660 | Pump (P-119), Refrigeration 1022, AHU-1,2,3 | BD0421.D3040 | P-119 |  | KV3009
51656 | Pump (P-109A), Mechanical 2028, Under Ice Slab Heating | BD0421.D3090 | P-109A |  | KV1507
51687 | Pump (P-115B), Existing Pool Room, Library HP Loop Circulation | BD0421.D3090 | P-115B
51658 | Pump (P-109C), Mechanical 2028, Under Ice Slab Heating | BD0421.D3090 | P-109C |  | KV1507
51655 | Pump (P-106), Mechanical 2028, Heat Pump Loop | BD0421.D3090 | P-106 |  | KS6009
51653 | Pump (P-104), Kitchen Storage 2045, TF-1 | BD0421.D3090 | P-104 |  | 1915
51654 | Pump (P-105), Mechanical 2028, Heat Pump Loop | BD0421.D3090 | P-105 |  | KS6009
51657 | Pump (P-109B), Mechanical 2028, Under Ice Slab Heating | BD0421.D3090 | P-109B |  | KV1507
51659 | Pump (P-117), Mechanical 2028, MUA-1 and AHU-1 | BD0421.D3090 | P-117 |  | KV3007
51686 | Pump (P-115A), Existing Pool Room, Library HP Loop Circulation | BD0421.D3090 | P-115A
51694 | Pump (P-103B), Refrigeration 1022, CT-1 | BD0421.F1210 | P-103B
51693 | Pump (P-103A), Refrigeration 1022, CT-1 | BD0421.F1210 | P-103A
51755 | Brine Pump (P-2), Compressor Room, Main Rink | BD0421.F1210 | P-2
51757 | Brine Pump (P-4), Compressor Room, Back up | BD0421.F1210 | P-4
51695 | Pump (P-128), Refrigeration 1022, Arena Compressor Jacket Cooling | BD0421.F1210 | P-128
51754 | Brine Pump (P-1), Compressor Room, Curling Rink | BD0421.F1210 | P-1
51710 | Pump (P-126), Zamboni 1139, Snow Melt Heating Circulation | BD0421.F1270 | P-126
51708 | Pump (P-124), Zamboni 1030, Snow Melt Heating Circulation | BD0421.F1270 | P-124
51709 | Pump (P-125), Zamboni 1133, Snow Melt Heating Circulation | BD0421.F1270 | P-125
51703 | Pump (P-135B), Zamboni 1139, Server Room | BD0421.I1000 | P-135B
51701 | Pump (P-134), Zamboni 1139, Server Room | BD0421.I1000 | P-134
51700 | Pump (P-133), Zamboni 1139, Server Room | BD0421.I1000 | P-133
51702 | Pump (P-135A), Zamboni 1139, Server Room | BD0421.I1000 | P-135A
51736 | Pump (P-122), Storage 1132, ZFB-1,2 - instant hot water system - mechanical room 1132 | BD0421.D3090 | P-122
51726 | Pump (P-101A), Refrigeration 1022, Refrigeration Heat Recovery - Mechanical room vestibule | BD0421.D3090 | P-101A
51727 | Pump (P-101B), Refrigeration 1022, Refrigeration Heat Recovery - Mechanical room vestibule | BD0421.D3090 | P-101B
51728 | Pump (P-102), Refrigeration 1022, Refrigeration Heat Recovery - De-superheater - Mechanical room Vestibule | BD0421.D3090 | P-102
Pump 132, sprinkler room
Pump (140), Mechanical room 228 (upstairs A2)
Pump (122, Mechanical room 122 (downstairs A2)
Pump 137, Zamboni bay, Arena 3
Pump 138, Zamboni bay, Arena 3
Pump (AHU 3), room 231 (MRP 3 closet)
EF 202 - room 204
EF 203 - room 207
BD0424 | Glen Pine Pavilion | 1200 Glen Pine Court
45357 | Pump, P-01, Heating Water System, Glen Pine Pavilion Mechanical Penthouse, | BD0424.D2020 | P-1
45358 | Pumps, Mechanical Penthouse, Heating Water System | BD0424.D2020 | P-2
45359 | Pumps, Mechanical Penthouse, Heating Coil HC Circ. | BD0424.D2020 | P-3 |  | DOJ5617D5535h
45360 | Pumps, Boiler Room, DHW Recirc. | BD0424.D2020 | P-4
45361 | Pumps, Boiler Room, DHWT-1 T-1 Circ. | BD0424.D2020 | P-5
BD0431 | Coquitlam City Centre Library | 1169 Pinetree Way
58710 | DOMESTIC HOT WATER TANK PUMP - Parking Mechanical Room | BD0431.D2020 | P-10 |  | ASTRO 250-SS
58711 | DOMESTIC TEMPERED HOT WATER RECIR. PUMP - Parking Mechanical Room | BD0431.D2020 | P-11 |  | ASTRO 250-SS
58707 | BOILER PUMP - Parking Mechanical Room | BD0431.D3020 | P-7 |  | SERIES 4280 1.5x1x6
58708 | HEAT PUMP COLD SIDE - Parking Mechanical Room | BD0431.D3030 | P-8 |  | SERIES 4280 4x3x8.5
58709 | HEAT PUMP HOT SIDE - Parking Mechanical Room | BD0431.D3030 | P-9 |  | SERIES 4280 3x2.5x6
58703 | HWS DISTRIBUTION PUMP (RUN) - Parking Mechanical Room | BD0431.D3040 | P-3 |  | SERIES 4270 2x1.5x5.5
58704 | HWS DISTRIBUTION PUMP (STANDBY) - Parking Mechanical Room | BD0431.D3040 | P-4 |  | SERIES 4270 2x1.5x5.5
58705 | CHWS DISTRIBUTION PUMP (RUN) - Parking Mechanical Room | BD0431.D3040 | P-5 |  | SERIES 4030 3x2x10
58706 | CHWS DISTRIBUTION PUMP (STANDBY) - Parking Mechanical Room | BD0431.D3040 | P-6 |  | SERIES 4030 3x2x10
Hot water supply (pump P1)
Hot water supply (pump P2)
BD0972 | Blue Mountain Water Spray Park | 975 King Albert Ave.
46453 | Circurlation Pump, Blue Mtn Water Spray Park | BD0972.F1000 | Pump -1 | HT020402B | W21 BJ
BD0975 | Eagle Ridge Pool | 2689 Guildford Way
75424 | Pump - P1 - Cast Iron, Bronze Fitted, Pool Circulation Pump with 6" strainer | BD0975.F1000 | P-1 |  | 530SC-K
pump, boiler
pump, chlorine
BD0979 | Spani Pool | 655 Hillcrest Ave.
72871 | Pump, P-2 - Pool Water Heating Pump - Mech Rm - Mundy Park Spani Pool | BD0979.F1000 | P-2 |  | M80121 F01
Pump circulation pump
chlorine pump
BD0980 | Town Centre Spray Park | 1299 Pinetree Way
46454 | Water Spray Park - Feature Pump , Bell & Gosset | BD0980.F1000 | PM-1 | 1531 2AC-BF | 6.257FP