## SOQ
APPENDIX 1
FORM OF TENDER
Contract 77103
Austin Avenue Improvements (Walker St - Brookmere Ave MUP)
SCHEDULE OF QUANTITIES AND PRICES
(see paragraph 5.3.1 of the Instruction to Tenderers)
(All Tender and Contract Prices shall NOT include GST. GST will apply upon payment)
(Should there be any discrepancy in the information provided, the City’s original file copy shall prevail)
ITEM NO. | MMCD Ref./ (SS) | DESCRIPTION | UNIT | QTY | UNIT PRICE | EXTENDED AMOUNT
1 | 01 55 00 | TRAFFIC CONTROL, VEHICLE ACCESS AND PARKING
1.01 | 1.5.1 | Traffic Control and Management |  |  | Incidental to Contract
2 | 01 57 01S | ENVIRONMENTAL PROTECTION
2.01 | (1.6.1) | ESC supply & Installation, Maintenance and Removal |  |  | Incidental to Contract
3 | 01 58 01S | PROJECT IDENTIFICATION
3.01 | (1.3.1) | 1.2m x 1.2m Static Construction Zone Information Sign | ea. | 5
3.02 | (1.3.2) | Changeable Message Signs (CMS) (x2 Sign) | month | 5
4 | 03 30 20S | CONCRETE WALKS, CURBS AND GUTTERS
4.01 | (1.4.3) | MMCD C5 Concrete Barrier Curb & Gutter c/w slot paving (excl. gravels) | lin.m | 90
4.02 | (1.4.5) | Concrete Sidewalk, Infill Slopes & Wheelchair Letdowns- Broom Finish -100mm thick (excl. gravels) | sq.m | 1340
4.06 | (1.4.10) | Tactile Strip - 24in x 60in - Access Tile, Yellow Colour, Removable Type - Provisional | each | 3
5 | 03 30 53 | CAST IN PLACE CONCRETE
5.01 | 1.5.3 | Concrete Retaining Wall - Provisional | cu.m | 243
6 | 26 56 01 | ROADWAY LIGHTING
6.01 | 1.9.2 | Supply and Installation of All Roadway and Pedestrian Lighting Works including any removal, adjustments and disposal needed to complete the work and as shown on the Contract Drawings | L.S. | 1
7 | 31 05 17S | AGGREGATES AND GRANULAR MATERIALS
7.01 | (1.4.3) | 19mm Granular Base | tonne | 850
8 | 31 11 01S | CLEARING AND GRUBBING
8.01 | (1.4.1) | Clearing and Grubbing | L.S. | 1
9 | 31 11 41 | SHRUB AND TREE PRESERVATION
9.01 | 1.3.1 | Tree Protection (Including Tree Protection Fencing COQ-R26) | L.S. | 1
10 | 31 24 13S | ROADWAY EXCAVATION, EMBANKMENT & COMPACTION
10.01 | (1.8.4) | Removal of Existing Concrete and Asphalt Flatwork (all depths) (Incl. Sawcut & Offsite Disposal) | sq.m | 165
10.02 | (1.8.4) | Removal of Existing Concrete Curb | lin.m | 90
10.03 | (1.8.4) | Removal of No Post Barrier & Bollards (Incl. Off Site Disposal) | each | 3
10.04 | (1.8.5) | Common Excavation (Incl. Stripping, Top Soil Removal & Off Site Disposal) | cu.m | 1500
11 | 32 17 23S | PAINTED PAVEMENT MARKINGS
11.01 | (1.5.3) | Permanent Thermoplastic Pavement Markings and Stencils (includes Eradication of Existing Pavement Markings) as Per Contract Drawings | L.S. | 1
11.02 | (1.5.4) | Install Traffic Signage on New Pole and Base (City to supply all new sign tabs) | each | 3
11.03 | (1.5.4) | Install or Adjust Traffic Signage on Existing Pole or Streetlight (City to supply all new sign tabs) | each | 2
11.04 | (1.5.4) | Relocate Existing Sign Pole & Install or Adjust New Traffic Signage | each | 1
12 | 32 31 13S | CHAIN LINK FENCES AND GATES
12.01 | (1.5.1) | Install New Chainlink Fence (MMCD 13) - Provisional | lin.m | 340
12.02 | (1.5.4) | MMCD C14 (Powder Coated Black) Handrail - Embedded Mounting | lin.m | 360
12.03 | (1.5.5) | Remove & Replace Existing Chainlink Fence (MMCD 13) | lin.m | 16
13 | 32 91 13.23S | STRUCTURAL SOIL
13.01 | (1.8.1) | Structural Soil | cu.m | 650
14 | 32 91 21S | TOPSOIL AND FINISH GRADING
14.01 | (1.4.1) | Imported Topsoil - 150mm thick | cu.m | 620
15 | 32 92 19 | HYDRAULIC SEEDING
15.01 | 1.8.2 | Hydraulic Seeding (lawn grass #1, sun and shade mix) | sq.m | 110
16 | 32 93 01S | PLANTING OF TREES, SHRUBS AND GROUND COVERS
16.01 | (1.9.1) | European Hornbeam Tree, 6cm Cal/B&B as described in Contract Drawings c/w Treegator Slow Release Watering Bag, Trunk Protector, Support Stakes and 1.0m Deep Bark Mulch Well Tree Well - Provisional | each | 8
16.02 | (1.9.1) | Katsura Tree, 6cm Cal/B&B as described in Contract Drawings c/w Treegator Slow Release Watering Bag, Trunk Protector, Support Stakes and 1.0m Deep Bark Mulch Well Tree Well - Provisional | each | 2
16.03 | (1.9.1) | Fraser's Photinia, #10 Pot as described in Contract Drawings c/w 75mm Deep Bark Mulch - Provisional | each | 7
16.04 | (1.9.1) | Ninebark, #10 Pot as described in Contract Drawings c/w 75mm Deep Bark Mulch - Provisional | each | 6
16.05 | (1.9.1) | Ocean Spray, #10 Pot as described in Contract Drawings c/w 75mm Deep Bark Mulch - Provisional | each | 6
17 | 33 40 01S | STORM SEWER
17.01 | (1.6.2) | 450mm dia. Conc Pipe (Type C-76 III) | lin.m | 7
17.02 | (1.6.6) | 100mm PVC Perforated Pipe within Retaining Wall (incl. drain rock, filter fabric, cleanouts and tie-in to existing catchbasin sump) | lin.m | 390
18 | 33 42 13 | PIPE CULVERTS
18.01 | 1.5.3 | 11-13 Headwall c/w Rip Rap | L.S. | 1
19 | 33 44 01S | MANHOLES AND CATCHBASINS
19.01 | (1.5.2) | Lawn Basin Type 1 (COQ-S12A) - Provisional | each | 1
19.02 | (1.5.3) | Junction Box, Communication Box (5686 Service Box) & Water Valve (Terminal City Nelson Type) Adjustment Only | each | 9
20 | 34 41 13S | TRAFFIC SIGNALS
20.01 | (1.9.2) | Traffic Signal Installation and Modifications including Controller Relocation as Shown In Contract Drawings | L.S. | 1
20.02 | (1.9.4) | Remove and Reinstate Detector Loops - Provisional | each | 4
Total Tendered Price (exclude GST): $____________________________
(Transfer the amount to Form of Tender Summary Page 1)
Name of Contractor: